| T.C. Harran Üniversitesi Mühendislik Fakültesi Makina Mühendisliği Bölümü |
| --- |
| 0502507- Mesleki Yabancı Dil I (İngilizce) 2009-2010 Güz Dönemi Ödevi |  |

| SNO | ÖĞRENCİ NO | ADI SOYADI | Sayfa |
| --- | --- | --- | --- |
| 1 | 050502009 | NURGÜL YILMAZ | 1-5 |
| 2 | 050502032 | MEHMET TARIK BEKÇİBAŞI | 6-10 |
| 3 | 050502042 | MESUT DUMRAL | 11-19 |
| 4 | 060502014 | SİNAN ONUR | 20-30 |
| 5 | 060502035 | CEYHUN DURMAZ | 31-37 |
| 6 | 060502039 | DAVUT ÇELİK | 38-46 |
| 7 | 060502043 | FERHAT DEMİR | 47-51 |
| 8 | 070502001 | BAHRİYE AVCI | 52-57 |
| 9 | 070502009 | TAYFUN ALKAN | 58-62 |
| 10 | 070502013 | EMİNE AĞİR | 63-70 |
| 11 | 070502016 | MÜLKİYE AKSU | 71-78 |
| 12 | 070502021 | ABDÜLKADİR AYDEMİR | 79-82 |

Not:

- Terim ve kavramlar doğru kullanılmalıdır. Anlam bozukluğu olacak şekilde tercüme yapılmamalıdır.

- Metin bir Word dosyasına formatlı olarak yazılacaktır.( Times New Roman, 12 punto, A4, Tüm kenarlardan 2.5 cm, Başlıklar Koyu)

- Şekil ve tablolarda tercüme edilecektir. Konu bütünlüğüne dikkat edilecektir.

- Ödevlerin bilgisayar çıktısı elektronik dosyası ile birlikte teslim edilecektir.

Son teslim tarihi: 20.01.2010 (Final Sınavı tarihi)

## Chapter 1: Introductory Concepts, Units, and Definitions

In this chapter various relevant concepts and definitions are introduced, and will be used throughout the course.

## Thermodynamics and Energy

Thermodynamics is the science of energy, including energy storage and energy in transit. The Conservation of Energy Principle states that energy cannot be created or destroyed, but can only change its form. The three forms of energy storage of greatest interest to us are Potential Energy (PE), Kinetic Energy (KE), and Internal Energy (U), which we introduce below. The two forms of energy in transit that we consider are Work (W) and Heat (Q), and the interactions between these various forms of energy are defined in terms of the First Law of Thermodynamics, which we introduce in Chapter 3.

#### A Word on Units

In this course we use the International System (SI) units exclusively

#### Force and Work

We begin with Newton's Second Law, as follows:

The Weight of a body is the force acting on that body due to the acceleration due to gravity (g = 9.807 [m/s2]), in accordance with the Universal Theory of Gravitation developed by Isaac Newton. Legend has it that Newton was inspired by an apple falling on his head, as is shown in a delightful website by Mike Guidry of the University of Tennessee on Sir Isaac Newton, in which we see a cartoon showing the apple falling on Newton's head.

Well, this legend is extremely relevant, since the weight of a small apple is approximately one Newton. Furthermore, the mass of a plastic bottle containing one liter of water is approximately one kilogram.
Quick Quiz - can you estimate how many Newtons (or apples) a liter of water weighs?

At this point we note that the major confusion of the English system of units came about because of the decision to define mass and force independently as 1 lb (pound), when in fact they are related through Newton's Second Law. In order to justify this one has to separately define a pound mass (lbm) and a pound force (lbf), thus since the acceleraton due to gravity g = 32.2 [ft/s2] we have:

One attempt to solve this paradox has been the introduction of a new unit of mass, the "slug", thus:

1 slug = 32.2 lbm

however I challenge anyone to go to the grocery store and request a slug of potatos.

We now consider the work done (W), the energy in transit requiring both the applied force (F) and movement (x). If the force (F) is constant over the distance moved (x) then the work done is given by:

However, in general the force (F) is not constant over the distance x, thus we need to sum all the incremental work processes taking into consideration the variation of the force (F). This leads to the equivalent integral form for determining work done (W) as follows:

#### A Units Survival Kit for US Students

Over the years we have developed a basic Units Survival Kit (for the SI challenged) in order to help convert between the USCS (English) system and the SI (International) system of units, as well as to develop a feel for the magnitudes of the various units.

Quick Quiz - we all know (from reading our speedometers) that 50 mph is equivalent to 80 km/hr.
1. What is the accuracy of this conversion?
2. Use this information to show that 9 mph is equivalent to 4 m/s.

We find that with the above survival kit we can determine many unit conversions between SI & English units, typically as demonstrated in the following block:

As we progress and learn new concepts we will add to this Survival Kit.

#### Forms of Energy

We introduce the various forms of energy of interest to us in terms of a solid body having a mass m [kg]. These include potential, kinetic and internal energy. Potential energy (PE) is associated with the elevation of the body, and can be evaluated in terms of the work done to lift the body from one datum level to another under a constant acceleration due to gravity g [m/s2], as follows:

Kinetic energy (KE) of a body is associated with its velocity [m/s] and can be evaluated in terms of the work required to change the velocity of the body, as follows:

Internal energy (U) of a body is that associated with the molecular activity of the body as indicated by its temperature T [°C], and can be evaluated in terms of the heat required to change the temperature of the body having a specific heat capacity C [J/kg.°C], as follows:

#### Cooking with Potential Energy

In order to gain an intuitive appreciation for the relative magnitudes of the different forms of energy we consider the (tongue-in-cheek) example of an attempt to cook a turkey by potential energy. The turkey is brought to the top of a 100 m building (about 30 stories) and then dropped from the ledge. The potential energy is thus converted into kinetic energy, and finally on impact the kinetic energy is converted into internal energy. The increase in internal energy is represented by an increase in temperature, and hopefully, if this experiment is repeated enough times the temperature increase will allow the turkey to cook. This remarkable experiment was first reported by R.C.Gimmi and Gloria J Browne - "Cooking with Potential Energy", published in the Journal of Irreproducible Results (Vol 33, 1987, pp 21-22).

What a disappointment! At 0.33°C per fall it will require repeating the experiment 600 times just to reach the cooking temperature of 200°C.

### Thermodynamic Systems

For purposes of analysis we consider two types of Thermodynamic Systems:

- Closed System - usually referred to as a System or a Control Mass. This type of system is separated from its surroundings by a physical boundary. Energy in transit in the form of Work or Heat can flow across the system boundary, however there can be no mass flow across the boundary. One typical example of a system is a piston / cylinder device in which the system is defined as the fixed mass of fluid contained within the cylinder.

- Open System - usually referred to as a Control Volume. In this case, in addition to work or heat, we have mass flow of the working fluid across the system boundaries through inlet and outlet ports. In this course we will be exclusively concerned with steady flow control volumes, in that the net mass of working fluid within the system boundaries remains constant (ie mass flow in [kg/s] = mass flow out [kg/s]). The following sections refer mainly to systems - we will consider control volumes in more detail starting with Chapter 4a.

#### Properties of a System

The closed system shown above can be defined by its various Properties, such as its pressure (P), temperature (T), volume (V) and mass (m). We will introduce and define the various properties of thermodynamic interest as needed in context. Furthermore the properties can be either Extensive or Intensive (or Specific). An extensive property is one whose value depends on the mass of the system, as opposed to an intensive property (such as pressure or temperature) which is independent of the system mass. A specific property is an intensive property which has been obtained by dividing the extensive property by the mass of the system. Two examples follow - notice that specific properties will always have kilograms (kg) in the units denominater.

One often used exception to the above definitions is the concept of Specific Weight, defined as the weight per unit volume. We will not be using this concept throughout this text.

#### State and Equilibrium

The State of a system is defined by the values of the various intensive properties of the system. The State Postulate states that if two independent intensive property values are defined, then all the other intensive property values (and thus the state of the system) are also defined. This can significantly simplify the graphical representation of a system, since only two-dimensional plots are required. Note that pressure and temperature are not necessarily independent properties, thus a boiling liquid will change its state from liquid to vapor at a constant temperature and pressure.

We assume that throughout the system Equilibrium conditions prevail, thus there are no temperature or pressure gradients or transient effects. At any instant the entire system is under chemical and phase equilibrium.

#### Process and Cycle

A Process is a change of state of a system from an initial to a final state due to an energy interaction (work or heat) with its surroundings. For example in the following diagram the system has undergone a compression process in the piston-cylinder device.

The Process Path defines the type of process undergone. Typical process paths are:

- Isothermal (constant temperature process)

- Isochoric or Isometric (constant volume process)

- Isobaric (constant pressure process)

- Adiabatic (no heat flow to or from the system during the process)

We assume that all processes are Quasi-Static in that equilibrium is attained after each incremental step of the process.

A system undergoes a Cycle when it goes through a sequence of processes that leads the system back to its original state.

### Pressure

The basic unit of pressure is the Pascal [Pa], however practical units are kiloPascal [kPa], bar [100 kPa] or atm (atmosphere) [101.32 kPa]. The Gage (or Vacuum) pressure is related to the Absolute pressure as shown in the diagram below:

The basic method of measuring pressure is by means of a Manometer, as shown below:

The atmospheric pressure is measured by means of a Mercury Barometer as follows:

### Temperature

Temperature is a measure of molecular activity, and a temperature difference between two bodies in contact (for example the immediate surroundings and the system) is the driving force leading to heat transfer between them.

Both the Fahrenheit and the Celsius scales are in common usage in the US, hence it is important to be able to convert between them. Furthermore we will find that in some cases we require the Absolute (Rankine and Kelvin) temperature scales (for example when using the Ideal Gas Equation of State), thus we find it convenient to plot all four scales as follows:

Notice from the plot that -40°C equals -40°F, leading to convenient formulas for converting between the two scales as follows:

Quick Quiz - The temperature in Chicago in winter can be as low as 14°F. What is the temperature in °C, K, and °R. [-10°C, 263 K, 474°R] Note that by convention 263 K is read "263 Kelvin," and not "263 degrees Kelvin".

## Chapter 2: Pure Substances

## a) Phase Change, Property Tables and Diagrams

In this chapter we consider the property values and relationships of a pure substance (such as water) which can exist in three phases - solid, liquid and gas. We will not consider the solid phase in this course.

In order to introduce the rather complex phase change interactions that occur in pure substances we consider an experiment in which we have liquid water in a piston-cylinder device at 20°C and 100kPa pressure.. Heat is added to the cylinder while the pressure is maintained constant until the temperature reaches 300°C, as shown in the following T-v diagram (temperature vs specific volume):

From State (1) to State (2) the water maintains its liquid phase and the specific volume increases very slightly until the temperature reaches close to 100°C (State (2) - Saturated Liquid). As more heat is added the water progressively changes phase from liquid to water vapor (steam) while maintaining the temperature at 100°C (Saturation Temperature - Tsat) until there is no liquid remaining in the cylinder (State (4) - Saturated Vapor). If heating continues then the water vapor temperature increases (T > Tsat) and is said to be in the Superheated (State (5)).

Notice that during this entire process the specific volume of the water increased by more than three orders of magnitude, which made it necessary to use a logarithmic scale for the specific volume axis.

We now consider repeating this experiment at various pressures, as shown in the following T-v diagram:

Notice that as we increase the applied pressure, the region between the saturated liquid and saturated vapor decreases until we reach the Critical Point, above which there is no clear distinction between the liquid and vapor states.

It is common practice to join the loci of saturated liquid and saturated vapor points as shown in the T-v diagram below.

The saturation lines define the regions of interest as shown in the diagram, being the Compressed Liquid region, the Quality region enclosed by the saturation lines, and the Superheat region (which also includes the Transcritical region) to the right of the saturated vapor line and above the critical point. We will use Property Tables associated with the regions in order to evaluate the various properties. Notice that we have provided property tables of steam, Refrigerant R134a, and Carbon Dioxide, which we believe is destined to become the future refrigerant of common usage.

## The Quality Region

The Quality Region (also referred to as the Saturated Liquid-Vapor Mixture Region) is enclosed between the saturated liquid line and the saturated vapor line, and at any point within this region the quality of the mixture (also referred to as the dryness factor) is defined as the mass of vapor divided by the total mass of the fluid, as shown in the following diagram:

Notice that properties relating to the saturated liquid have the subscript f, and those relating to the saturated vapor have the subscript g. In order to evaluate the quality consider a volume V containing a mass m of a saturated liquid-vapor mixture.

Notice from the steam property tables that we have also included three new properties: internal energy u [kJ/kg], enthalpy h [kJ/kg], and entropy s [kJ/kg.K] all of which will be defined as needed in future sections. At this stage we note that the 3 equations relating quality and specific volume can also be evaluated in terms of these three additional properties.

## The P-v Diagram for Water

The above discussion was done in terms of the T-v diagram, however recall from Chapter 1 when we defined the State Postulate that any two independent intensive properties can be used to completely define all other intensive state properties. It is often advantageous to use the P-v diagram with temperature as the parameter as in the following diagram:

Notice that because of the extremely large range of pressure and specific volume values of interest, this can only be done on a log-log plot. This is extremely inconvenient, so both the T-v and the P-v diagrams are normally not drawn to scale, however are sketched only in order to help define the problem, which is then solved in terms of the steam tables. This approach is illustrated in the following solved problems.

Solved Problem 2.1 - Two kilograms of water at 25°C are placed in a piston cylinder device under 100 kPa pressure as shown in the diagram (State (1)). Heat is added to the water at constant pressure until the piston reaches the stops at a total volume of 0.4 m3 (State (2)). More heat is then added at constant volume until the temperature of the water reaches 300°C (State (3)). Determine (a) the quality of the fluid and the mass of the vapor at state (2), and (b) the pressure of the fluid at state (3).

Step 1: Always draw a complete diagram of the states and processes of the problem and include all the relevant information on the diagram. In this case there are three states and two processes (constant pressure and constant volume).

Step 2: In the case of a closed system with a phase change fluid, always sketch a T_v or P_v diagram indicating all the relevant states and processes on the diagram. As mentioned above this diagram will not be drawn to scale, however it will help to define the problem and the approach to solution. In the case of steam, as we determine various values from the steam tables we add these values to the diagram, typically as shown below:

Notice that the T_v diagram is based exclusively on intensive properties, hence mass is not indicated on the diagram. Thus we indicate on the diagram that in order to determine the quality at state (2) we need to first evaluate the specific volume v2, which can then be compared to the saturation values vf and vg at the pressure of 100 kPa.

Thus v2 = V / m = 0.4 [m3] / 2 [kg] = 0.2 [m3 / kg]

Concerning state (3), the problem statement did not specify that it is in the superheat region. We needed to first determine the saturated vapor specific volume vg at 300°C. This value is 0.0216 m3 / kg, which is much less than the specific volume v3 of 0.2 m3 / kg, thus placing state (3) well into the superheated region. Thus the two intensive properties which we use to determine the pressure at state (3) are T3 = 300°C, and v3 = 0.2 m3 / kg. On scanning the superheat tables we find that the closest values lie somewhere between 1.2 MPa and 1.4 MPa, thus we use linear interpolation techniqes to determine the actual pressure P3 as shown below:

Solved Problem 2.2 - Two kilograms of water at 25°C are placed in a piston cylinder device under 3.2 MPa pressure as shown in the diagram (State (1)). Heat is added to the water at constant pressure until the temperature of the fluid reaches 350°C (State (2)). Determine the final volume of the fluid at state (2).

In this example since the pressure is known (3.2 MPa) and remains constant throughout the process, we find it convenient to draw a P-v diagram indicating the process (1) - (2) as follows.

As in the previous example, on scanning the superheat tables we find that we need to interpolate between pressure P = 3.0 MPa and P = 3.5 MPa in order to determine the specific volume at the required pressure of 3.2 MPa as follows:

Problem 2.3 - A piston-cylinder device contains a saturated mixture of steam and water having a total mass of 0.5 kg at a pressure of 160 kPa and an initial volume of 100 liters. Heat is then added and the fluid expands at constant pressure until it reaches a saturated vapor state.

- a) Draw a diagram representing the process showing the initial and final states of the system.

- b) Sketch this process on a P-v diagram with respect to the saturation lines, critical point, and relevant constant temperature lines, clearly indicating the initial and final states.

- c) Determine the initial quality and temperature of the fluid mixture prior to heating. [quality x1 = 0.182, T1 = 113.3°C]

- d) Determine the final volume of the steam after heating. [0.546 m3 (546 liters)]

Note: 1000 liters - 1 m3.

Problem 2.4 - A pressure cooker allows much faster (and more tender) cooking by maintaining a higher boiling temperature of the water inside. It is well sealed, and steam can only escape through an opening on the lid, on which sits a metal petcock. When the pressure overcomes the weight of the petcock, the steam escapes, maintaining a constant high pressure while the water boils.

Assuming that the opening under the petcock has an area of 8 mm2, determine

- a) the mass of the petcock required in order to maintain an operating pressure of 99 kPa gage. [80.7gm]

- b) the corresponding temperature of the boiling water. [120.2°C]

Note: Assume that the atmospheric pressure is 101 kPa. Draw a free body diagram of the petcock.

## Chapter 2: Pure Substances

## b) The Ideal Gas Equation of State

We continue with our discussion on Pure Substances.

We find that for a pure substance in the superheated region, at specific volumes much higher than that at the critical point, the P-v-T relation can be conveniently expressed by the Ideal Gas Equation of State to a high degree of accuracy, as follows:

P v = R T

where: R is constant for a particular substance and is called the Gas Constant

Note that for the ideal gas equation both the pressure P and the temperature T must be expressed in absolute quantities.

Consider for example the T-v duagram for water as shown below:

The shaded zone in the diagram indicates the region that can be represented by the Ideal Gas equation to an error of less than 1%. Note that at the critical point the error is 330%.

The gas constant R can be expressed as follows:

The three commonly used formats to express the Ideal Gas Equation of State are:

Solved Problem 2.5 - A piston-cylinder device contains 0.5 kg saturated liquid water at a pressure of 200 kPa. Heat is added and the steam expands at constant pressure until it reaches 300°C.

- a) Draw a diagram representing the process showing the initial and final states of the system.

- b) Sketch this process on a T-v (temperature-specific volume) diagram with respect to the saturation lines, critical point, and relevant constant pressure lines, clearly indicating the initial and final states.

- c) Using steam tables determine the initial temperature of the steam prior to heating.

- d) Using steam tables determine the final volume of the steam after heating

- e) Using the ideal gas equation of state determine the final volume of the steam after heating. Determine the percentage error of using this method compared to that of using the steam tables.

Note: The critical point data and the ideal gas constant for steam can be found on the first page of the steam tables.

Solution Approach:

Even if questions a) and b) were not required, this should always be the first priority item in solving a thermodynamic problem.

c) Since state (1) is specified as saturated liquid at 200 kPa, we use the saturated pressure steam tables to determine that T1 = Tsat@ 200kPa = 120.2°C.

d) From the T-v diagram we determine that state (2) is in the superheated region, thus we use the superheated steam tables to determine that v2 = v200kPa,300°C = 1.3162 m3/kg. Thus V2 = m,v2 = (0,5kg).(1.3162 m3/kg) = 0.658 m3 (658 liters)

Note that in doing a units check we find that the following conversion appears so often that we feel it should be added to our Units Conversion Survival Kit (recall Chapter 1):

Finally we determine the percentage error of using the ideal gas equation at state (2)

Solved Problem 2.6 - An automobile tire with a volume of 100 liters is inflated to a gage pressure of 210 kPa. Determine a) the mass of air in the tire if the temperature is 20°C, and b) the increase in gage pressure if the temperature in the tire reaches 50°C. Assume that atmospheric pressure is 100 kPa.

Solution Approach:

We always begin a thermodynamic problem with a sketch, indicating all the relevant information on the sketch, thus:

For part b) the temperature in the tire increases to 50°C (323K), however the volume and mass of air in the tire remains constant, thus:

(Note for the SI challenged - initially the pressure was 30 psig, and then rose to 35 psig. Try to validate these values)

Solved Problem 2.7 - In aircraft design it is common practice to specify a standard temperature distribution in the atmosphere near the surface of the earth (up to an elevation z of 10000m) as T(z) = (T0 + a.z)°C, where T0 at the earth's surface is 15°C, and a is the Temperature Lapse Rate (= -0.00651°C / m). Using the Ideal Gas Equation of State, determine the pressure at an elevation of 3000m if at z = 0, P = 101 kPa.

Solution Approach:

We first develop the solution in terms of the Hydrostatic Equation on an elemental height of the column of air, the Ideal Gas Equation of State, and the Temperature Lapse Rate equation, as follows:

Solved Problem 2.8 - You may wonder why we would be interested in knowing the value of air pressure at 3000m altitude. In the following example we continue with the above development in order to evaluate the payload that can be lifted to an altitude of 3000m using a small hot air balloon (Volume =1000 m3) having an empty mass of 100kg. Assume that the temperature of the air in the balloon is 100°C.

Solution Approach:

In this case we develop the solution in terms of a force balance between the bouyancy force (weight of the displaced air) and the gravity force including the weight of the hot air, the balloon empty mass, and the payload mass. The maximum altitude occurs when those two forces are equal, as follows:

Finally - with 154 kg payload at least 2 persons can share and enjoy this wonderful experience. Unfortunately they will not be able to enjoy a decent cup of English tea. At a pressure of 69.9 kPa water will boil at (heavens forbid) < 90°C! (Saturation temperature Tsat from the Steam Tables). Quick quiz: determine the temperature of a cup of tea in Denver, Colorado (elevation 5000 ft), or on the peaks of the Rocky Mountains (elevation 14000 ft. Hint: use the Units Survival Kit presented in Chapter1 to first convert from feet to meters)
________________________________________________________________

Non-Ideal Gas Behavior

We noticed in the above T-v diagram for water that the gasses can deviate significantly from the ideal gas equation of state in regions nearby the critical point and there have been many equations of state recommended for use to account for this non-ideal behaviour. However, this non-ideal behaviour can be accounted for by a correction factor called the Compressibility Factor Z defined as follows:

thus when the compressibility factor Z approaches 1 the gas behaves as an ideal gas. Note that under the same conditions of temperature and pressure, the compressibility factor can be expressed as:

Different fluids have different values of critical point pressure and temperature data PCR and TCR, and these can be determined from the Table of Critical Point Data of Various Substances. Fortunately the Principle of Corresponding States states that we can normalize the pressure and temperature values with the critical values as follows:

All fluids normalized in this manner exhibit similar non-ideal gas behaviour within a few percent, thus they can all be plotted on a Generalised Compressibility Chart. A number of these charts are available, however we prefer to use the Lee-Kesler (logarithmic) Compressibilty Chart, The use of the compressibility chart is shown in the following example.

Solved Problem 2.9 - Carbon Dioxide gas is stored in a 100 liter tank at 6 MPa and 30°C. Determine the mass of CO2 in the tank based on (a) values obtained from the CO2 tables of data, (b) the ideal gas equation of state, and (c) the generalized compressibility chart. Compare (b) and (c) to (a) and determine the percentage error in each case.

Solution Approach:

We first determine the Critical Point data for CO2 from the Table of Critical Point Data of Various Substances

After evaluating the Reduced Pressure and Reduced Temperature we plot them on the Generalized Compressibility Chart in order to determine the Compressibility Factor, as shown below

The actual value of specific volume va is obtained from the CO2 Superheat Tables

The general rule is that if P << PCR or if T >> TCR then you are probably dealing with an ideal gas. If in doubt always check the Compressibility Factor Z on the Compressibility Chart.

## Chapter 3: The First Law of Thermodynamics for Closed Systems

## a) The Energy Equation for Closed Systems

We consider the First Law of Thermodynamics applied to stationary closed systems as a conservation of energy principle. Thus energy is transferred between the system and the surroundings in the form of heat and work, resulting in a change of internal energy of the system. Internal energy change can be considered as a measure of molecular activity associated with change of phase or temperature of the system and the energy equation is represented as follows:

## Heat (Q)

Energy transferred across the boundary of a system in the form of heat always results from a difference in temperature between the system and its immediate surroundings. We will not consider the mode of heat transfer, whether by conduction, convection or radiation, thus the quantity of heat transferred during any process will either be specified or evaluated as the unknown of the energy equation. By convention, positive heat is that transferred from the surroundings to the system, resulting in an increase in internal energy of the system

## Work (W)

In this course we consider three modes of work transfer across the boundary of a system, as shown in the following diagram:

In this course we are primarily concerned with Boundary Work due to compression or expansion of a system in a piston-cylinder device as shown above. In all cases we assume a perfect seal (no mass flow in or out of the system), no loss due to friction, and quasi-equilibrium processes in that for each incremental movement of the piston equilibrium conditions are maintained. By convention positive work is that done by the system on the surroundings, and negative work is that done by the surroundings on the system, Thus since negative work results in an increase in internal energy of the system, this explains the negative sign in the above energy equation.

Boundary work is evaluated by integrating the force F multiplied by the incremental distance moved dx between an initial state (1) to a final state (2). We normally deal with a piston-cylinder device, thus the force can be replaced by the piston area A multiplied by the pressure P, allowing us to replace A.dx by the change in volume dV, as follows:

This is shown in the following schematic diagram, where we recall that integration can be represented by the area under the curve.

Note that work done is a Path Function and not a property, thus it is dependent on the process path between the initial and final states. Recall in Chapter 1 that we introduced some typical process paths of interest:

- Isothermal (constant temperature process)

- Isochoric or Isometric (constant volume process)

- Isobaric (constant pressure process)

- Adiabatic (no heat flow to or from the system during the process)

It is sometimes convenient to evaluate the specific work done which can be represented by a P-v diagram thus if the mass of the system is m [kg] we have finally:

We note that work done by the system on the surroundings (expansion process) is positive such and that done on the system by the surroundings (compression process) is negative.

Finally for a closed system Shaft Work (due to a paddle wheel) and Electrical Work (due to a voltage applied to an electrical resistor or motor driving a paddle wheel) will always be negative (work done on the system). Positive forms of shaft work, such as that due to a turbine, will be considered in Chapter 4 when we discuss open systems.

## Internal Energy (u)

The third component of our Closed System Energy Equation is the change of internal energy resulting from the transfer of heat or work. Since specific internal energy is a property of the system, it is usually presented in the Property Tables such as in the Steam Tables. Consider for example the following solved problem.

Solved Problem 3.1 - Recall the Solved Problem 2.2 in Chapter 2a in which we presented a constant pressure process. We wish to extend the problem to include the energy interactions of the process, hence we restate it as follows:

Two kilograms of water at 25°C are placed in a piston cylinder device under 3.2 MPa pressure as shown in the diagram (State (1)). Heat is added to the water at constant pressure until the temperature of the steam reaches 350°C (State (2)). Determine the work done by the fluid (W) and heat transferred to the fluid (Q) during this process.

Solution Approach:

We first draw the diagram of the process including all the relevant data as follows:

Notice the four questions to the right of the diagram, which we should always ask before attempting to solve any thermodynamic problem. What are we dealing with - liquid? pure fluid, such as steam or refrigerant? ideal gas? In this case it is steam, thus we will use the steam tables to determine the various properties at the various states. Is the mass or volume given? If so we will specify and evaluate the energy equation in kiloJoules rather than specific quantities (kJ/kg). What about entropy? Not so fast - we have not yet considered enthalpy (below) - wait patiently until Chapter 6.

Since work involves the integral of P.dv we find it convenient to sketch the P-v diagram of the problem as follows:

Notice on the P-v diagram how we determine the specific work done as the area under the process curve. We also notice that in the Compressed Liquid region the constant temperature line is essentially vertical. Thus all the property values at State (1) (compressed liquid at 25°C) can be determined from the saturated liquid table values at 25°C.

Enthalpy (h) - a New Property

In the case studies that follow we find that one of the major applications of the closed system energy equation is in heat engine processes in which the system is approximated by an ideal gas, thus we will develop relations to determine the internal energy for an ideal gas. We will find also that a new property called Enthalpy will be useful both for Closed Systems and in particular for Open Systems, such as the components of steam power plants or refrigeration systems. Enthalpy is not a fundamental property, however is a combination of properties and is defined as follows:

As an example of its usage in closed systems, consider the following constant pressure process:

Applying the energy equation we obtain:

However, since the pressure is constant throughout the process:

Substituting in the energy equation and simplifying:

Values for specific internal energy (u) and specific enthalpy (h) are available from the Steam Tables, however for ideal gasses it is necessary to develop equations for and in terms of Specific Heat Capacities. We develop these equations in terms of the differential form of the energy equation in the following web page:

Specific Heat Capacities of an Ideal Gas

We have provided property values for various ideal gases, including the gas constant and specific heat capacities in the following web page:

Properties of Various Ideal Gases (at 300 K)

## Chapter 3: The First Law of Thermodynamics for Closed Systems

## c) The Air-Standard Diesel Cycle (Compression-Ignition) Engine

The Air Standard Diesel cycle is the ideal cycle for Compression-Ignition (CI) reciprocating engines, first proposed by Rudolph Diesel over 100 years ago. The following link by the Kruse Technology Partnership describes the four-stroke diesel cycle operation including a short history of Rudolf Diesel. The four-stroke diesel engine is usually used in motor vehicle systems, whereas larger marine systems usually use the two-stroke diesel cycle. Once again we have an excellent animation produced by Matt Keveney presenting the operation of the four-stroke diesel cycle.

The actual CI cycle is extremely complex, thus in initial analysis we use an ideal "air-standard" assumption, in which the working fluid is a fixed mass of air undergoing the complete cycle which is treated throughout as an ideal gas. All processes are ideal, combustion is replaced by heat addition to the air, and exhaust is replaced by a heat rejection process which restores the air to the initial state.

The ideal air-standard diesel engine undergoes 4 distinct processes, each one of which can be separately analysed, as shown in the P-V diagrams below. Two of the four processes of the cycle are adiabatic processes (adiabatic = no transfer of heat), thus before we can continue we need to develop equations for an ideal gas adiabatic process as follows:

The Adiabatic Process of an Ideal Gas (Q = 0)

The analysis results in the following three general forms representing an adiabatic process:

where k is the ratio of heat capacities and has a nominal value of 1.4 at 300K for air.

Process 1-2 is the adiabatic compression process. Thus the temperature of the air increases during the compression process, and with a large compression ratio (usually > 16:1) it will reach the ignition temperature of the injected fuel. Thus given the conditions at state 1 and the compression ratio of the engine, in order to determine the pressure and temperature at state 2 (at the end of the adiabatic compression process) we have:

Work W1-2 required to compress the gas is shown as the area under the P-V curve, and is evaluated as follows.

An alternative approach using the energy equation takes advantage of the adiabatic process (Q1-2 = 0) results in a much simpler process:

(thanks to student Nichole Blackmore for making me aware of this alternative approach)

During process 2-3 the fuel is injected and combusted and this is represented by a constant pressure expansion process. At state 3 ("fuel cutoff") the expansion process continues adiabatically with the temperature decreasing until the expansion is complete.

Process 3-4 is thus the adiabatic expansion process. The total expansion work is Wexp = (W2-3 + W3-4) and is shown as the area under the P-V diagram and is analysed as follows:

Finally, process 4-1 represents the constant volume heat rejection process. In an actual Diesel engine the gas is simply exhausted from the cylinder and a fresh charge of air is introduced.

The net work Wnet done over the cycle is given by: Wnet = (Wexp + W1-2), where as before the compression work W1-2 is negative (work done on the system).

In the Air-Standard Diesel cycle engine the heat input Qin occurs by combusting the fuel which is injected in a controlled manner, ideally resulting in a constant pressure expansion process 2-3 as shown below. At maximum volume (bottom dead center) the burnt gasses are simply exhausted and replaced by a fresh charge of air. This is represented by the equivalent constant volume heat rejection process Qout = -Q4-1. Both processes are analyzed as follows:

At this stage we can conveniently determine the engine efficiency in terms of the heat flow as follows:

__________________________________________________________________________

The following problems summarize this section:

Problem 3.4 - A frictionless piston-cylinder device contains 0.2 kg of air at 100 kPa and 27°C. The air is now compressed slowly according to the relation P Vk = constant, where k = 1.4, until it reaches a final temperature of 77°C.

- a) Sketch the P-V diagram of the process with respect to the relevant constant temperature lines, and indicate the work done on this diagram.

- b) Using the basic definition of boundary work done determine the boundary work done during the process [-7.18 kJ].

- c) Using the energy equation determine the heat transferred during the process [0 kJ], and verify that the process is in fact adiabatic.

Derive all equations used starting with the basic energy equation for a non-flow system, the equation for internal energy change for an ideal gas (), the basic equation for boundary work done, and the ideal gas equation of state [P.V = m.R.T]. Use values of specific heat capacity defined at 300K for the entire process.

Problem 3.5 - Consider the expansion stroke only of a typical Air Standard Diesel cycle engine which has a compression ratio of 20 and a cutoff ratio of 2. At the beginning of the process (fuel injection) the initial temperature is 627°C, and the air expands at a constant pressure of 6.2 MPa until cutoff (volume ratio 2:1). Subsequently the air expands adiabatically (no heat transfer) until it reaches the maximum volume.

- a) Sketch this process on a P-v diagram showing clearly all three states. Indicate on the diagram the total work done during the entire expansion process.

- b) Determine the temperatures reached at the end of the constant pressure (fuel injection) process [1800K], as well as at the end of the expansion process [830K], and draw the three relevant constant temperature lines on the P-v diagram.

- c) Determine the total work done during the expansion stroke [1086 kJ/kg].

- d) Determine the total heat supplied to the air during the expansion stroke [1028 kJ/kg].

Derive all equations used starting from the ideal gas equation of state and adiabatic process relations, the basic energy equation for a closed system, the internal energy and enthalpy change relations for an ideal gas, and the basic definition of boundary work done by a system (if required). Use the specific heat values defined at 1000K for the entire expansion process, obtained from the table of Specific Heat Capacities of Air.

Solved Problem 3.6 - An ideal air-standard Diesel cycle engine has a compression ratio of 18 and a cutoff ratio of 2. At the beginning of the compression process, the working fluid is at 100 kPa, 27°C (300 K). Determine the temperature and pressure of the air at the end of each process, the net work output per cycle [kJ/kg], and the thermal efficiency.

Note that the nominal specific heat capacity values used for air at 300K are CP = 1.00 kJ/kg.K, Cv = 0.717 kJ/kg.K,, and k = 1.4. However they are all functions of temperature, and with the extremely high temperature range experienced in Diesel engines one can obtain significant errors. In this example we develop a temperature averaging technique using the temperature dependence table of Specific Heat Capacities of Air.

Solution Approach:

The first step is to draw a diagram representing the problem, including all the relevant information. We notice that neither volume nor mass is given, hence the diagram and solution will be in terms of specific quantities. The most useful diagram for a heat engine is the P-v diagram of the complete cycle:

The next step is to define the working fluid and decide on the basic equations or tables to use. In this case the working fluid is air, and we have decided that we will be using temperature average values of specific heat capacities for each process presented in the table of Specific Heat Capacities of Air.

We now go through all four processes in order to determine the temperature and pressure at the end of each process.

Note that an alternative method of evaluating pressure P2 is to simply use the ideal gas equation of state, as follows:

Either approach is satisfactory - choose whichever you are more comfortable with. We now continue with the fuel injection consant pressure process:

Notice that even though the problem requests "net work output per cycle" we have only calculated the heat in and heat out. In the case of a Diesel engine it is much simpler to evaluate the heat values, and we can easily obtain the net work from the energy balance over a complete cycle, as follows:

You may wonder at the unrealistically high thermal efficiency obtained. In this idealized analysis we have ignored many loss effects that exist in practical heat engines. We will begin to understand some of these loss mechanisms when we study the Second Law in Chapter 5.

## Chapter 3: The First Law of Thermodynamics for Closed Systems

## d) The Air-Standard Otto Cycle (Spark-Ignition) Engine

The Air Standard Otto cycle is the ideal cycle for Spark-Ignition (SI) internal combustion engines, first proposed by Nikolaus Otto over 130 years ago, and which is currently used most motor vehicles. The following link by the Kruse Technology Partnership presents a description of the four-stroke Otto cycle operation including a short history of Nikolaus Otto. Once again we have excellent animations produced by Matt Keveney presenting both the four-stroke and the two-stroke spark-ignition internal combustion engine engine operation

As with the Diesel cycle which we analysed in the previous section, we will use the ideal "air-standard" assumption in our analysis. Thus the working fluid is a fixed mass of air undergoing the complete cycle which is treated throughout as an ideal gas. All processes are ideal, combustion is replaced by heat addition to the air, and exhaust is replaced by a heat rejection process which restores the air to the initial state.

The most significant difference between the ideal Otto cycle and the ideal Diesel cycle is the method of igniting the fuel-air mixture. Recall that in the ideal Diesel cycle the extremely high compression ratio (around 18:1) allows the air to reach the ignition temperature of the fuel. The fuel is then injected such that the ignition process occurs at a constant pressure. In the ideal Otto cycle the fuel-air mixture is introduced during the induction stroke and compressed to a much lower compression ratio (around 8:1) and is then ignited by a spark. The combustion results in a sudden jump in pressure while the volume remains essentially constant. The continuation of the cycle including the expansion and exhaust processes are essentially identical to that of the ideal Diesel cycle. We find it convenient to develop the analysis approach of the ideal Otto cycle through the following solved problem:

Solved Problem 3.7 - An ideal air-standard Otto cycle engine has a compression ratio of 8. At the beginning of the compression process, the working fluid is at 100 kPa, 27°C (300 K), and 800 kJ/kg heat is supplied during the constant volume heat addition process. Neatly sketch the pressure-volume [P-v] diagram for this cycle, and using the temperature averaging technique of evaluating the specific heat values determine:

- a) the temperature and pressure of the air at the end of each process

- b) the net work output/cycle [kj/kg], and

- c) the thermal efficiency [th] of this engine cycle.

Solution Approach:

We recall from the previous section that the nominal specific heat capacity values used for air at 300K are Cv = 0.717 kJ/kg.K,, and k = 1.4. However they are all functions of temperature, and with the extremely high temperature range experienced in internal combustion engines one can obtain significant errors. In this problem we use the temperature averaging technique in terms of the temperature dependence table of Specific Heat Capacities of Air.

The first step is to draw the P-v diagram of the complete cycle, including all the relevant information. We notice that neither volume nor mass have been provided, hence the diagram and solution will be in terms of specific quantities.

We assume that the fuel-air mixture is represented by pure air. The relevant equations of state, internal energy and adiabatic process for air follow:

We now go through all four processes in order to determine the temperature and pressure at the end of each process.

Note that the pressure P4 (as well as P2 above) could also be evaluated from the adiabatic process equation. We do so below as a vailidity check, however we find it more convenient to use the ideal gas equation of state wherever possible. Either method is satisfactory.

We continue with the final process to determine the heat rejected:

Notice that even though the problem requests "net work output per cycle" we have only calculated the heat in and heat out. In the case of an Otto cycle engine it is much simpler to evaluate the heat values, and we can easily obtain the net work from the energy balance over a complete cycle, as follows:

Problem 3.8 - This is an extension of Solved Problem 3.7, in which we wish to use throughout all four processes the nominal standard specific heat capacity values for air at 300K. Using the values Cv = 0.717 kJ/kg.K, and k = 1.4, determine:

- a) the temperature and pressure of the air at the end of each process [P2 = 1838 kPa, T2 = 689K, T3 = 1805K, P3 = 4815 kPa, P4 = 262 kPa, T4 = 786K]

- b) the net work output/cycle [451.5 kJ/kg], and

- c) the thermal efficiency of this engine cycle. [th = 56%]

Show that using this method we can determine the thermal efficiency directly from the ratio of specific heat capacities k with the following formula:

where r is the compression ratio

Compare your results to those of Solved Problem 3.7, and discuss the validity of this approach.

## Chapter 4: The First Law of Thermodynamics for Control Volumes

## b) Steam Power Plants

A basic steam power plant consists of four interconnected components, typically as shown in the figure below. These include a steam turbine to produce mechanical shaft power, a condenser which uses external cooling water to condense the steam to liquid water, a feedwater pump to pump the liquid to a high pressure, and a boiler which is externally heated to boil the water to superheated steam. Unless otherwise specified we assume that the turbine and the pump (as well as all the interconnecting tubing) are adiabatic, and that the condenser exchanges all of its heat with the cooling water.

A Simple Steam Power Plant Example - In this example we wish to determine the performance of this basic steam power plant under the conditions shown in the diagram, including the power of the turbine and pump, heat transfer rates of the boiler and condenser, and thermal efficiency of the system.

In this example we wish to evaluate the following:

- Turbine output power and the power required to drive the feedwater pump

- Heat power supplied to the boiler and that rejected in the condenser to the cooling water

- The thermal efficiency of the power plant (th), defined as the net work done by the system divided by the heat supplied to the boiler.

- The minimum mass flow rate of the cooling water in the condenser required for a specific temperature rise

Do not be intimidated by the complexity of this system. We will find that we can solve each component of this system separately and independently of all the other components, always using the same approach and the same basic equations. We first use the information given in the above schematic to plot the four processes (1)-(2)-(3)-(4)-(1) on the P-h diagram. Notice that the fluid entering and exiting the boiler is at the high pressure 10 MPa, and similarly that entering and exiting the condenser is at the low pressure 20 kPa. State (1) is given by the intersection of 10 MPa and 500°C, and state (2) is given as 20 kPa at 90% quality, State (3) is given by the intersection of 20 kPa and 40°C, process (3)-(4) follows the constant temperature line, since T4 = T3 = 40°C, .

Notice from the P-h diagram plot how we can get an instant visual appreciation of the system performance, in particular the thermal efficiency of the system by comparing the enthalpy difference of the turbine (1)-(2) to that of the boiler (4)-(1). We also notice that the power required by the feedwater pump (3)-(4) is negligible compared to any other component in the system.

(Note: We find it strange that the only thermodynamics text that we know of that even considered the use of the P-h diagram for steam power plants is Engineering Thermodynamics - Jones and Dugan (1995). It is widely used for refrigeration systems, however not for steam power plants.)

We now consider each component as a separate control volume and apply the energy equation, starting with the steam turbine. The steam turbine uses the high-pressure - high-temperature steam at the inlet port (1) to produce shaft power by expanding the steam through the turbine blades, and the resulting low-pressure - low-temperature steam is rejected to the condenser at port (2). Notice that we have assumed that the kinetic and potential energy change of the fluid is negligible, and that the turbine is adiabatic. In fact any heat loss to the surroundings or kinetic energy increase would be at the expense of output power, thus practical systems are designed to minimise these loss effects. The required values of enthalpy for the inlet and outlet ports are determined from the steam tables.

Thus we see that under the conditions shown the steam turbine will produce 8MW of power.

The very low-pressure steam at port (2) is now directed to a condenser in which heat is extracted by cooling water from a nearby river (or a cooling tower) and the steam is condensed into the subcooled liquid region. The analysis of the condenser may requre determining the mass flow rate of the cooling water needed to limit the temperature rise to a certain amount - in this example to 10°C. This is shown on the following diagram of the condenser:

Notice that our steam tables do not include the subcooled (or compressed) liquid region that we find at the outlet of the condenser at port (3). In this region we notice from the P-h diagram that over an extremely high pressure range the enthalpy of the liquid is equal to the saturated liquid enthalpy at the same temperature, thus to a close approximation h3 = hf@40°C, independent of the pressure.

Thus we see that under the conditions shown, 17.6 MW of heat is extracted from the steam in the condenser.

I have often been queried by students as to why we have to reject such a large amount of heat in the condenser causing such a large decrease in thermal efficiency of the power plant. Without going into the philosophical aspects of the Second Law (which we cover later in Chapter 5, my best reply was provided to me by Randy Sheidler, a senior engineer at the Gavin Power Plant. He stated that the Fourth Law of Thermodynamics states: "You can't pump steam!", so until we condense all the steam into liquid water by extracting 17.6 MW of heat, we cannot pump it to the high pressure to complete the cycle. (Randy could not give me a reference to the source of this amazing observation).

In order to determine the enthalpy change of the cooling water (or in the feedwater pump which follows), we consider the water to be an Incompressible Liquid, and evaluate as follows:

From the steam tables we find that the specific heat capacity for liquid water CH2O = 4.18 kJ/kg°C. Using this analysis we found on the condenser diagram above that the required mass flow rate of the cooling water is 421 kg/s. If this flow rate cannot be supported by a nearby river then a cooling tower must be included in the power plant design.

We now consider the feedwater pump as follows:

Thus as we suspected from the above P-h diagram plot, the pump power required is extremely low compared to any other component in the system, being only 1% that of the turbine output power produced.

The final component that we consider is the boiler, as follows:

Thus we see that under the conditions shown the heat power required by the boiler is 25.7 MW. This is normally supplied by combustion (or nuclear power). We now have all the information needed to determine the thermal efficiency of the steam power plant as follows:

Note that the feedwater pump work can normally be neglected.

## Chapter 4: The First Law of Thermodynamics for Control Volumes

## c) Refrigerators and Heat Pumps

### Introduction and Discussion

In the early days of refrigeration the two refrigerants in common use were ammonia and carbon dioxide. Both were problematic - ammonia is toxic and carbon dioxide requires extremely high presures (from around 30 to 200 atmospheres!) to operate in a refrigeration cycle, and since it operates on a transcritical cycle the compressor outlet temperature is extremely high (around 160°C). When Freon 12 (dichloro-diflouro-methane) was discovered it totally took over as the refrigerant of choice. It is an extremely stable, non toxic fluid, which does not interact with the compressor lubricant, and operates at pressures always somewhat higher than atmospheric, so that if any leakage occured, air would not leak into the system, thus one could recharge without having to apply vacuum.

Unfortunately when the refrigerant does ultimately leak and make its way up to the ozone layer the ultraviolet radiation breaks up the molecule releasing the highly active chlorine radicals, which help to deplete the ozone layer. Freon 12 has since been banned from usage on a global scale, and has been essentially replaced by chlorine free R134a (tetraflouro-ethane) - not as stable as Freon 12, however it does not have ozone depletion characteristics.

Recently, however, the international scientific consensus is that Global Warming is caused by human energy related activity, and various man made substances are defined on the basis of a Global Warming Potential (GWP) with reference to carbon dioxide (GWP=1). R134a has been found to have a GWP of 1300 and in Europe, within a few years, automobile air conditioning systems will be barred from using R134a as a refrigerant.

The new hot topic is a return to carbon dioxide (R744) as a refrigerant. The previous two major problems of high pressure and high compressor temperature are found in fact to be advantageous. The very high cycle pressure results in a high fluid density throughout the cycle, allowing miniturization of the systems for the same heat pumping power requirements. Furthermore the high outlet temperature will allow instant defrosting of automobile windshields (we don't have to wait until the car engine warms up) and can be used for combined space heating and hot water heating in home usage (refer for example: Norwegian IEA Heatpump Program Annex28, and for automobile air conditioning systems: Visteon Corp.) From a web search we notice that most of the research and development of carbon dioxide heat pump systems is occuring in Europe - see for example: SHERHPA (Sustainable Heat and Energy Research for Heat Pump Applications), as well as the recent website R744.com.

In this chapter we cover the vapor-compression refrigeration cycle using refrigerant R134a, and will defer coverage of the carbon dioxide cycle to Chapter 9.

A Basic R134a Vapor-Compression Refrigeration System

Unlike the situation with steam power plants it is common practice to begin the design and analysis of refrigeration and heat pump systems by first plotting the cycle on the P-h diagram.

The following schematic shows a basic refrigeration or heat pump system with typical property values. Since no mass flow rate of the refrigerant has been provided, the entire analysis is done in terms of specific energy values. Notice that the same system can be used either for a refrigerator or air conditioner, in which the heat absorbed in the evaporator (qevap) is the desired output, or for a heat pump, in which the heat rejected in the condenser (qcond) is the desired output.

In this example we wish to evaluate the following:

- Heat absorbed by the evaporator (qevap) [kJ/kg]

- Heat rejected by the condenser (qcond) [kJ/kg]

- Work done to drive the compressor (wcomp) [kJ/kg]

- Coefficient of Performance (COP) of the system, either as a refrigerator or as a heat pump.

As with the Steam Power Plant, we find that we can solve each component of this system separately and independently of all the other components, always using the same approach and the same basic equations. We first use the information given in the above schematic to plot the four processes (1)-(2)-(3)-(4)-(1) on the P-h diagram. Notice that the fluid entering and exiting the condenser (State (2) to State (3)) is at the high pressure 1 MPa. The fluid enters the evaporator at State (4) as a saturated mixture at -20°C and exits the evaporator at State (1) as a saturated vapor. State (2) is given by the intersection of 1 MPa and 70°C in the superheated region. State (3) is seen to be in the subcooled liquid region at 30°C, since the saturation temperature at 1 MPa is about 40°C. The process (3)-(4) is a vertical line (h3 = h4) as is discussed below.

In the following section we develop the methods of evaluating the solution of this example using the R134a refrigerant tables. Notice that the refrigerant tables do not include the subcooled region, however since the constant temperature line in this region is essentially vertical, we use the saturated liquid value of enthalpy at that temperature.

Notice from the P-h diagram plot how we can get an instant visual appreciation of the system performance, in particular the Coefficient of Performance of the system by comparing the enthalpy difference of the compressor (1)-(2) to that of the evaporator (4)-(1) in the case of a refrigerator, or to that of the condenser (2)-(3) in the case of a heat pump.

We now consider each component as a separate control volume and apply the energy equation, starting with the compressor. Notice that we have assumed that the kinetic and potential energy change of the fluid is negligeable, and that the compressor is adiabatic. The required values of enthalpy for the inlet and outlet ports are determined from the R134a refrigerant tables.

The high pressure superheated refrigerant at port (2) is now directed to a condenser in which heat is extracted from the refrigerant, allowing it to reach the subcooled liquid region at port (3). This is shown on the following diagram of the condenser:

The throttle is simply an expansion valve which is adiabatic and does no work, however enables a significant reduction in temperature of the refrigerant as shown in the following diagram:

The final component is the evaporator, which extracts heat from the surroundings at the low temperature allowing the refrigerant liquid and vapor mixture to reach the saturated vapor state at station (1).

In determining the Coefficient of Performance - for a refrigerator or air-conditioner the desired output is the evaporator heat absorbed, and for a heat pump the desired output is the heat rejected by the condenser which is used to heat the home. The required input in both cases is the work done on the compressor (ie the electricity bill). Thus

COPR = qevap / wcomp = 145 / 65.5 = 2.2

COPHP = qcond / wcomp = 210 / 65.5 = 3.2

Notice that for the same system we always find that COPHP = COPR + 1.
Notice also that the COP values are usually greater than 1, which is the reason why they are never referred to as "Efficiency" values, which always have a maximum of 100%.

Thus the P-h diagram is a widely used and very useful tool for doing an approximate evaluation of a refrigerator or heat pump system.

## Chapter 5: The Second Law of Thermodynamics

In this chapter we consider a more abstract approach to heat engine, refrigerator and heat pump cycles, in an attempt to determine if they are feasible, and to obtain the limiting maximum performance available for these cycles. The concept of mechanical and thermal reversibility is central to the analysis, leading to the ideal Carnot cycles. (Refer to Wikipedia: Sadi Carnot a French physicist, mathematician and engineer who gave the first successful account of heat engines, the Carnot cycle, and laid the foundations of the second law of thermodynamics).

We represent a heat engine and a heat pump cycle in a minimalist abstract format as in the following diagrams. In both cases there are two temperature reservoirs TH and TL, with TH > TL.

In the case of a heat engine heat QH is extracted from the high temperature source TH, part of that heat is converted to work W done on the surroundings, and the rest is rejected to the low temperature sink TL. The opposite occurs for a heat pump, in which work W is done on the system in order to extract heat QL from the low temperature source TL and "pump" it to the high temperature sink TH. Notice that the thickness of the line represents the amount of heat or work energy transferred.

We now present two statements of the Second Law of Thermodynamics, the first regarding a heat engine, and the second regarding a heat pump. Neither of these statements can be proved, however have never been observed to be violated.

The Kelvin-Planck Statement: It is impossible to construct a device which operates on a cycle and produces no other effect than the transfer of heat from a single body in order to produce work.

We prefer a less formal description of this statement in terms of a boat extracting heat from the ocean in order to produce its required propulsion work:

The Clausius Statement: It is impossible to construct a device which operates on a cycle and produces no other effect than the transfer of heat from a cooler body to a hotter body.

Equivalence of the Clausius and Kelvin-Planck Statements

It is remarkable that the two above statements of the Second Law are in fact equivalent. In order to demonstrate their equivalence consider the following diagram. On the left we see a heat pump which violates the Clausius statement by pumping heat QL from the low temperature reservoir to the high temperature reservoir without any work input. On the right we see a heat engine rejecting heat QL to the low temperature reservoir.

If we now connect the two devices as shown below such that the heat rejected by the heat engine QL is simply pumped back to the high temperature reservoir then there will be no need for a low temperature reservoir, resulting in a heat engine which violates the Kelvin-Planck statement by extracting heat from a single heat source and converting it directly into work.

#### Mechanical and Thermal Reversibility

Notice that the statements on the Second Law are negative statements in that they only describe what is impossible to achieve. In order to determine the maximum performance available from a heat engine or a heat pump we need to introduce the concept of Reversibilty, including both mechanical and thermal reversibility. We will attempt to clarify these concepts in terms of the following example of a reversible piston cylinder device in thermal equilibrium with the surroundings at temperature T0, and undergoing a cyclic compression/expansion process.

For mechanical reversibility we assume that the process is frictionless, however we also require that the process is a quasi-equilibrium one. In the diagram we notice that during compression the gas particles closest to the piston will be at a higher pressure than those farther away, thus the piston will be doing more compression work than it would do if we had waited for equilibrium conditions to occur after each incremental step. Similarly, thermal reversibility requires that all heat transfer is isothermal. Thus if there is an incremental rise in temperature due to compression then we need to wait until thermal equilibrium is established. During expansion the incremental fall in temperature will result in heat being transferred from the surroundings to the system until equilibrium is established.

In summary, there are three conditions required for reversible operation:

- All mechanical processes are frictionless.

- At each incremental step in the process thermal and pressure equilibrium conditions are established.

- All heat transfer processes are isothermal.

#### Carnot's Theorem

Carnot's theorem, also known as Carnot's rule, or the Carnot principle, can be stated as follows:

No heat engine operating between two heat reservoirs can be more efficient than a reversible heat engine operating between the same two reservoirs.

The simplest way to prove this theorem is to consider the scenario shown below, in which we have an irreversible engine as well as a reversible engine operating between the reservoirs TH and TL, however the irreversible heat engine has a higher efficiency than the reversible one. They both draw the same amount of heat QH from the high temperature reservoir, however the irreversible engine produces more work WI than that of the reversible engine WR.

Note that the reversible engine by its nature can operate in reverse, ie if we use some of the work output (WR) from the irreversible engine in order to drive the reversible engine then it will operate as a heat pump, transferring heat QH to the high temperature reservoir, as shown in the following diagram:

Notice that the high temperature reservoir becomes redundent, and we end up drawing a net amount of heat (QLR - QLI) from the low temperature reservoir in order to produce a net amount of work (WI - WR) - a Kelvin-Planck violator - thus proving Carnot's Theorem.

#### Corollary 1 of Carnot's Theorem:

The first Corollary of Carnot's theorem can be stated as follows:

All reversible heat engines operating between the same two heat reservoirs must have the same efficiency.

Thus regardless of the type of heat engine, the working fluid, or any other factor if the heat engine is reversible, then it must have the same maximum efficiency. If this is not the case then we can drive the reversible engine with the lower efficiency as a heat pump and produce a Kelvin-Planck violater as above.

#### Corollary 2 of Carnot's Theorem:

The second Corollary of Carnot's theorem can be stated as follows:

The efficiency of a reversible heat engine is a function only of the respective temperatures of the hot and cold reservoirs. It can be evaluated by replacing the ratio of heat transfers QL and QH by the ratio of temperatures TL and TH of the respective heat reservoirs.

Thus using this corollary we can evaluate the thermal efficiency of a reversible heat engine as follows:

Notice that we always go into "meditation mode" before replacing the ratio of heats with the ratio of absolute temperatures, which is only valid for reversible machines. The simplest conceptual example of a reversible heat engine is the Carnot cycle engine, as described in the following diagram:

Obviously a totally impractical engine which cannot be realized in practice, since for each of the four processes in the cycle the surrounding environment needs to be changed from isothermal to adiabatic. A more practical example is the ideal Stirling cycle engine as described in the following diagram:

This engine has a piston for compression and expansion work as well as a displacer in order to shuttle the working gas between the hot and cold spaces, and was described previously in Chapter 3b. Note that under the same conditions of temperatures and compression ratio the ideal Carnot engine has the same efficiency however a significantly lower net work output per cycle than the Ideal Stirling cycle engine, as can be easily seen in the following diagram:

When the reversible engine is operated in reverse it becomes a heat pump or a refrigerator. The coefficient of Performance of these machines is developed as follows:

________________________________________________________________________

Problem 5.1 - A heat pump is used to meet the heating requirements of a house and maintain it at 20°C. On a day when the outdoor air temperature drops to -10°C it is estimated that the house looses heat at the rate of 10 kW. Under these conditions the actual Coefficient of Performance (COPHP) of the heat pump is 2.5.

- a) Draw a diagram representing the heat pump system showing the flow of energy and the temperatures, and determine:

- b) the actual power consumed by the heat pump [4 kW]

- c) the power that would be consumed by a reversible heat pump under these conditions [1.02 kW]

- d) the power that would be consumed by an electric resistance heater under these conditions [10 kW]

- e) Comparing the actual heat pump to the reversible heat pump determine if the performance of the actual heat pump is feasible,

Derive all equations used starting from the basic definition of COPHP.

________________________________________________________________________

Problem 5.2 - During an experiment conducted in senior lab at 25°C, a student measured that a Stirling cycle refrigerator that draws 250W of power has removed 1000kJ of heat from the refrigerated space maintained at -30°C. The running time of the refrigerator during the experiment was 20min. Draw a diagram representing the refrigerator system showing the flow of energy and the temperatures, and determine if these measurements are reasonable [COPR = 3.33, COPR,rev = 4.42, ratio COPR/COPR,rev = 75% > 60% - not feasible]. State the reasons for your conclusions. Derive all equations used starting from the basic definition of the Coefficient of Performance of a refrigerator (COPR).

## Chapter 10: Air - Water Vapor Mixtures

### b) The Psychrometric Chart and Air-Conditioning Processes

We notice from the development in Section a) that the equations relating relative and specific humidity, temperature (wet and dry bulb), pressure (air, vapor) and enthalpy are quite tedious and inconvenient. For this reason a Psychrometric Chart relating all the relevant variables was developed which is extremely useful for designing and evaluating air-conditioning and cooling tower systems.

At first appearence the psychrometric chart is quite confusing, however with some practice it becomes an extremely useful tool for rapidly evaluating air-conditioning processes. The most popular chart in common usage is that developed by ASHRAE (American Society of Heating, Refrigeration and Air-Conditioning Engineers), however we feel that the construction of a simplified version of the chart based on approximations of the various equations can be a very useful tool for developing an understanding of it's usage. This approach was suggested by Dr Maged El-Shaarawi in his article "On the Psychrometric Chart" published in the ASHRAE Transactions (Paper #3736, Vol 100, Part 1, 1994) and inspired us to produce the following simplified psychrometric chart:

The basic information used to construct the chart is the water vapor saturation data (Tsat, Pg) which is obtained from steam tables over the range from Tsat = 0.01°C through 50°C. The specific humidity is then evaluated using the relative humidity as a parameter to produce the various relative humidity curves (blue lines) as follows:

where P is the standard atmospheric pressure 101.325 [kPa].

The saturation curve (100% relative humidity) also known as the dew point curve is drawn as a red line. Notice that on the saturation curve the wet and dry bulb temperatures have the same values.

The major simplifying assumption in the construction of the chart is that the enthalpy of the mixture is assumed to be constant throughout the adiabatic saturation process (described in Section a). This implies that the evaporating liquid added does not significantly affect the enthalpy of the air-vapor mixture, leading to the constant slope wet bulb temperature / enthalpy (red) lines defined by:

Note that on the = 0 axis (dry air) h = T [°C]

Finally, the specific volume of the air-vapor mixture (green lines) is determined from the ideal gas relation as

where the gas constant Rair = 0.287 [kJ/kg.K]

It is normal practice to separate out the overlapping enthalpy / wet bulb temperature lines allowing them to be separately evaluated. Thus we introduce an oblique enthalpy axis and enthalpy (black) lines as follows:

The four equations highlighted above were programmed in MATLAB and used to plot the simplified psychrometric charts shown above. Refer to the link: 
MATLAB program for plotting a Simplified Psychrometric Chart

An excellent NebGuide (University of Nebraska-Lincoln Extension Publication) on How to use a Simplified Psychrometric Chart has been provided by David Shelton, and is also available as a pdf file (968k). This guide reduces the confusion by separately explaining 4 of the 6 sets of curves which make up a psychrometric chart. Definitely read this guide before continuing.

Solved Problem 10.1 - Assume that the outside air temperature is 32°C with a relative humidity = 60%. Use the psychrometric chart to determine the specific humidity [18 gm-moisture/kg-air], the enthalpy h [78 kJ/kg-air], the wet-bulb temperature Twb [25.5°C], the dew-point temperature Tdp [23°C], and the specific volume of the dry air v [0.89m3/kg]. Indicate all the values determined on the chart.

Solved Problem 10.2: Assume that the outside air temperature is 8°C. If the air in a room is at 25°C with a relative humidity = 40%, use the psychrometric chart to determine if the windows of that room which are in contact with the outside will become foggy.

The air in contact with the windows will become colder until the dew point is reached. Notice that under the conditions of 25°C and 40% relative humidity the dew point temperature is slightly higher than 10°C, At that point the water vapor condenses as the temperature approaches 8°C along the saturation line, and the windows will become foggy.

______________________________________________________________________________________

One of the major applications of the Psychrometric Chart is in air conditioning, and we find that most humans feel comfortable when the temperature is between 22°C and 27°C, and the relative humidity between 40% and 60%. This defines the "comfort zone" which is portrayed on the Psychrometric Chart as shown below. Thus with the aid of the chart we either heat or cool, add moisture or dehumidify as required in order to bring the air into the comfort zone.

Solved Problem 10.3: Outside air at 35°C and 60% relative humidity is to be conditioned by cooling and heating so as to bring the air to within the "comfort zone". Using the Psychrometric Chart neatly plot the required air conditioning process and estimate (a) the amount of moisture removed [11.5g-H20/kg-dry-air], (b) the heat removed [(1)-(2), qcool = 48kJ/kg-dry-air], and (c) the amount of heat added [(2)-(3), qheat = 10kJ/kg-dry-air].

Solved Problem 10.4:: Hot dry air at 40°C and 10% relative humidity passes through an evaporative cooler. Water is added as the air passes through a series of wicks and the mixture exits at 27°C. Using the psychrometric chart determine (a) the outlet relative humidity [45%], (b) the amount of water added [5.4g-H20/kg-dry-air], and (c) the lowest temperature that could be realized [18.5°C].

This type of cooler is extremely popular in hot, dry climates, and is popularly known as a Swamp Cooler.

An interesting and informative description on Psychrometric Chart Use for livestock and greenhouse applications has been presented in a University of Connecticut website by Michael Darre. Other websites that we found interesting is that of Wikipedia on Psychrometrics, and one by Sam Hui (Hong Kong University) on using the psychrometric chart in the 'Climatic Design of Buildings'.

## Chapter 10: Air - Water Vapor Mixtures

## c) Cooling Towers for Steam Power Plants

In the following we show a schematic diagram of a cooling tower in the context of a steam power plant:

mass flow:

Referring to the diagram above the mass flow rate of the makeup water is given by the difference in specific humidity at the inlet and outlet air streams multiplied by the mass flow rate of the dry air. Thus the mass flow balance equations for the cooling tower become:

energy:

Since no work is done and no heat transfered externally, the cooling tower energy equation reduces to an enthalpy balance equation. Combining the mass flow equations with the energy equation leads to the final equation relating the mass flow rate of the dry air to the circulating cooling water of the condenser, as follows:

The mass flow rate of the liquid water at stations (3) and (4) is normally provided from the condenser energy equation of the steam power plant. Recall from Chapter 10a that the specific humidity is related to the various pressures and the relative humidity by the following relations:

The pressure Pv is the partial pressure of the vapor, Pg is the saturation pressure at temperature T, and P is the total pressure (air + vapor), usually taken as one atmosphere (101.325 kPa). In Chapter 10b we saw how all of these relations can be most conveniently evaluated graphically on a Psychrometric Chart. Notice that we have extended the moisture specific humidity range on this chart from 30 to 35 grams/kg-air in order to accomodate the extremely high humidity normally encountered at at station (2), which is the reason why we normally see a cloud above the cooling tower.

Note that the enthalpies of the vapor (h1 and h2) and those of the liquid (h3, h4, hmu) can be conveniently evaluated as follows:

The temperature T is in degrees Celsius, and the specific heat capacity of dry air CP is approximately 1.00 [kJ/kg°C] and that of liquid water approximately 4.18 [kJ/kg°C]. In the above analysis we have assumed that the temperature of the makeup water Tmu equals the temperature of the cooled circulating water T3. Alternatively the values of enthalpy for the vapor (h1 and h2) can also be conveniently read directly from the Psychrometric Chart.

## Chapter 10: Air - Water Vapor Mixtures

## c) Cooling Towers for Steam Power Plants

In the following we show a schematic diagram of a cooling tower in the context of a steam power plant:

mass flow:

Referring to the diagram above the mass flow rate of the makeup water is given by the difference in specific humidity at the inlet and outlet air streams multiplied by the mass flow rate of the dry air. Thus the mass flow balance equations for the cooling tower become:

energy:

Since no work is done and no heat transfered externally, the cooling tower energy equation reduces to an enthalpy balance equation. Combining the mass flow equations with the energy equation leads to the final equation relating the mass flow rate of the dry air to the circulating cooling water of the condenser, as follows:

The mass flow rate of the liquid water at stations (3) and (4) is normally provided from the condenser energy equation of the steam power plant. Recall from Chapter 10a that the specific humidity is related to the various pressures and the relative humidity by the following relations:

The pressure Pv is the partial pressure of the vapor, Pg is the saturation pressure at temperature T, and P is the total pressure (air + vapor), usually taken as one atmosphere (101.325 kPa). In Chapter 10b we saw how all of these relations can be most conveniently evaluated graphically on a Psychrometric Chart. Notice that we have extended the moisture specific humidity range on this chart from 30 to 35 grams/kg-air in order to accomodate the extremely high humidity normally encountered at at station (2), which is the reason why we normally see a cloud above the cooling tower.

Note that the enthalpies of the vapor (h1 and h2) and those of the liquid (h3, h4, hmu) can be conveniently evaluated as follows:

The temperature T is in degrees Celsius, and the specific heat capacity of dry air CP is approximately 1.00 [kJ/kg°C] and that of liquid water approximately 4.18 [kJ/kg°C]. In the above analysis we have assumed that the temperature of the makeup water Tmu equals the temperature of the cooled circulating water T3. Alternatively the values of enthalpy for the vapor (h1 and h2) can also be conveniently read directly from the Psychrometric Chart.